## Sheet1
Test setup
1. Alarms of OffNormalAlarm, ExclusiveLevelAlarm, NonExclusiveLevelAlarm are triggered automatically and constantly.
2. Start Compliance test and then start the automatic alarm triggering. For the 2nd test, the automatic alarm triggering may be 30 seconds later than the 1st test. And I got kind of different test results.
(Newly skipped tests are in Red font. Different test results are italicized and underlined. Also marked Bold when big difference is observed.)
Conformance Units |  | Script Output (1st) | Script output (2nd)
A&C Basic
| Test_003 | CheckResults Test_003: key i=2782 CheckResults Test_003: key i=2881 CheckResults Test_003: key i=2915 CheckResults Test_003: key i=10523 CheckResults Test_003: key i=10637 29 tests passed for OffNormalAlarmType 0 tests skipped CheckResults Test_003: key i=11753 CheckResults Test_003: key i=13225 CheckResults Test_003: key i=19297 CheckResults Test_003: key i=2955 CheckResults Test_003: key i=9906 CheckResults Test_003: key i=10060 28 tests passed for NonExclusiveLevelAlarmType 0 tests skipped CheckResults Test_003: key i=9341 CheckResults Test_003: key i=9482 30 tests passed for ExclusiveLevelAlarmType 0 tests skipped | CheckResults Test_003: key i=2782 CheckResults Test_003: key i=2881 CheckResults Test_003: key i=2915 CheckResults Test_003: key i=10523 CheckResults Test_003: key i=10637 CheckResults Test_003: key i=11753 CheckResults Test_003: key i=13225 CheckResults Test_003: key i=19297 CheckResults Test_003: key i=2955 CheckResults Test_003: key i=9906 CheckResults Test_003: key i=10060 31 tests passed for NonExclusiveLevelAlarmType 0 tests skipped CheckResults Test_003: key i=9341 CheckResults Test_003: key i=9482 31 tests passed for ExclusiveLevelAlarmType 0 tests skipped
| Test_005 | Not skipped | CheckResults Test_005: key i=2782 CheckResults Test_005: key i=2881 CheckResults Test_005: key i=2915 CheckResults Test_005: key i=10523 CheckResults Test_005: key i=10637 CheckResults Test_005: key i=11753 CheckResults Test_005: key i=13225 CheckResults Test_005: key i=19297 CheckResults Test_005: key i=2955 CheckResults Test_005: key i=9906 CheckResults Test_005: key i=10060 31 tests passed for NonExclusiveLevelAlarmType 0 tests skipped CheckResults Test_005: key i=9341 CheckResults Test_005: key i=9482 31 tests passed for ExclusiveLevelAlarmType 0 tests skipped
A&C Acknowledge
| Test_001 | CheckResults Test_001: key i=2782 CheckResults Test_001: key i=2881 CheckResults Test_001: key i=2915 CheckResults Test_001: key i=10523 CheckResults Test_001: key i=10637 0 tests passed for OffNormalAlarmType 46 tests skipped CheckResults Test_001: key i=11753 CheckResults Test_001: key i=13225 CheckResults Test_001: key i=19297 CheckResults Test_001: key i=2955 CheckResults Test_001: key i=9906 CheckResults Test_001: key i=10060 0 tests passed for NonExclusiveLevelAlarmType 45 tests skipped CheckResults Test_001: key i=9341 CheckResults Test_001: key i=9482 0 tests passed for ExclusiveLevelAlarmType 45 tests skipped | CheckResults Test_001: key i=2782 CheckResults Test_001: key i=2881 CheckResults Test_001: key i=2915 CheckResults Test_001: key i=10523 CheckResults Test_001: key i=10637 CheckResults Test_001: key i=11753 CheckResults Test_001: key i=13225 CheckResults Test_001: key i=19297 CheckResults Test_001: key i=2955 CheckResults Test_001: key i=9906 CheckResults Test_001: key i=10060 0 tests passed for NonExclusiveLevelAlarmType 46 tests skipped CheckResults Test_001: key i=9341 CheckResults Test_001: key i=9482 0 tests passed for ExclusiveLevelAlarmType 45 tests skipped
| Test_003 | CheckResults Test_003: key i=2782 CheckResults Test_003: key i=2881 CheckResults Test_003: key i=2915 CheckResults Test_003: key i=10523 CheckResults Test_003: key i=10637 2 tests passed for OffNormalAlarmType 0 tests skipped Activity for type OffNormalAlarmType Activity: ns=2;s=AlarmsWithNodes.OffNormalAlarm Validate: ackedstate = true comment = Message = Locale: en, Text: Condition state acknowledged by UA client Activity: Time to read alarm Instance = 23 CheckResults Test_003: key i=11753 CheckResults Test_003: key i=13225 CheckResults Test_003: key i=19297 CheckResults Test_003: key i=2955 CheckResults Test_003: key i=9906 CheckResults Test_003: key i=10060 2 tests passed for NonExclusiveLevelAlarmType 0 tests skipped Activity for type NonExclusiveLevelAlarmType Activity: ns=2;s=AlarmsWithNodes.NonExclusiveLevelAlarm Validate: ackedstate = true comment = Message = Locale: en, Text: Condition state acknowledged by UA client Activity: Time to read alarm Instance = 24 CheckResults Test_003: key i=9341 CheckResults Test_003: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped Activity for type ExclusiveLevelAlarmType Activity: ns=2;s=AlarmsWithNodes.ExclusiveLevelAlarm Validate: ackedstate = true comment = Message = Locale: en, Text: Condition state acknowledged by UA client Activity: Time to read alarm Instance = 25 | CheckResults Test_003: key i=2782 CheckResults Test_003: key i=2881 CheckResults Test_003: key i=2915 CheckResults Test_003: key i=10523 CheckResults Test_003: key i=10637 CheckResults Test_003: key i=11753 CheckResults Test_003: key i=13225 CheckResults Test_003: key i=19297 CheckResults Test_003: key i=2955 CheckResults Test_003: key i=9906 CheckResults Test_003: key i=10060 2 tests passed for NonExclusiveLevelAlarmType 0 tests skipped Activity for type NonExclusiveLevelAlarmType Activity: ns=2;s=AlarmsWithNodes.NonExclusiveLevelAlarm Validate: ackedstate = true comment = Message = Locale: en, Text: Condition state acknowledged by UA client Activity: Time to read alarm Instance = 14 CheckResults Test_003: key i=9341 CheckResults Test_003: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped Activity for type ExclusiveLevelAlarmType Activity: ns=2;s=AlarmsWithNodes.ExclusiveLevelAlarm Validate: ackedstate = true comment = Message = Locale: en, Text: Condition state acknowledged by UA client Activity: Time to read alarm Instance = 27
| Err_004 | CheckResults Err_004: key i=2782 CheckResults Err_004: key i=2881 CheckResults Err_004: key i=2915 CheckResults Err_004: key i=10523 CheckResults Err_004: key i=10637 2 tests passed for OffNormalAlarmType 0 tests skipped CheckResults Err_004: key i=11753 CheckResults Err_004: key i=13225 CheckResults Err_004: key i=19297 CheckResults Err_004: key i=2955 CheckResults Err_004: key i=9906 CheckResults Err_004: key i=10060 2 tests passed for NonExclusiveLevelAlarmType 0 tests skipped CheckResults Err_004: key i=9341 CheckResults Err_004: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped | Test Err_004 Final States CheckResults Err_004: key i=2782 CheckResults Err_004: key i=2881 CheckResults Err_004: key i=2915 CheckResults Err_004: key i=10523 CheckResults Err_004: key i=10637 CheckResults Err_004: key i=11753 CheckResults Err_004: key i=13225 CheckResults Err_004: key i=19297 CheckResults Err_004: key i=2955 CheckResults Err_004: key i=9906 CheckResults Err_004: key i=10060 2 tests passed for NonExclusiveLevelAlarmType 0 tests skipped CheckResults Err_004: key i=9341 CheckResults Err_004: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped
| Err_007 | CheckResults Err_007: key i=2782 CheckResults Err_007: key i=2881 CheckResults Err_007: key i=2915 CheckResults Err_007: key i=10523 CheckResults Err_007: key i=10637 2 tests passed for OffNormalAlarmType 0 tests skipped CheckResults Err_007: key i=11753 CheckResults Err_007: key i=13225 CheckResults Err_007: key i=19297 CheckResults Err_007: key i=2955 CheckResults Err_007: key i=9906 CheckResults Err_007: key i=10060 2 tests passed for NonExclusiveLevelAlarmType 0 tests skipped CheckResults Err_007: key i=9341 CheckResults Err_007: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped | CheckResults Err_007: key i=2782 CheckResults Err_007: key i=2881 CheckResults Err_007: key i=2915 CheckResults Err_007: key i=10523 CheckResults Err_007: key i=10637 CheckResults Err_007: key i=11753 CheckResults Err_007: key i=13225 CheckResults Err_007: key i=19297 CheckResults Err_007: key i=2955 CheckResults Err_007: key i=9906 CheckResults Err_007: key i=10060 2 tests passed for NonExclusiveLevelAlarmType 0 tests skipped CheckResults Err_007: key i=9341 CheckResults Err_007: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped
| Err_008 | CheckResults Err_008: key i=2782 CheckResults Err_008: key i=2881 CheckResults Err_008: key i=2915 CheckResults Err_008: key i=10523 CheckResults Err_008: key i=10637 2 tests passed for OffNormalAlarmType 0 tests skipped CheckResults Err_008: key i=11753 CheckResults Err_008: key i=13225 CheckResults Err_008: key i=19297 CheckResults Err_008: key i=2955 CheckResults Err_008: key i=9906 CheckResults Err_008: key i=10060 2 tests passed for NonExclusiveLevelAlarmType 0 tests skipped CheckResults Err_008: key i=9341 CheckResults Err_008: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skippedCheckResults Err_009: key i=9341 CheckResults Err_009: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped | CheckResults Err_008: key i=2782 CheckResults Err_008: key i=2881 CheckResults Err_008: key i=2915 CheckResults Err_008: key i=10523 CheckResults Err_008: key i=10637 CheckResults Err_008: key i=11753 CheckResults Err_008: key i=13225 CheckResults Err_008: key i=19297 CheckResults Err_008: key i=2955 CheckResults Err_008: key i=9906 CheckResults Err_008: key i=10060 2 tests passed for NonExclusiveLevelAlarmType 0 tests skipped CheckResults Err_008: key i=9341 CheckResults Err_008: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped
| Err_009 | CheckResults Err_008: key i=2782 CheckResults Err_008: key i=2881 CheckResults Err_008: key i=2915 CheckResults Err_008: key i=10523 CheckResults Err_008: key i=10637 2 tests passed for OffNormalAlarmType 0 tests skipped CheckResults Err_008: key i=11753 CheckResults Err_008: key i=13225 CheckResults Err_008: key i=19297 CheckResults Err_008: key i=2955 CheckResults Err_008: key i=9906 CheckResults Err_008: key i=10060 2 tests passed for NonExclusiveLevelAlarmType 0 tests skipped CheckResults Err_008: key i=9341 CheckResults Err_008: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped | CheckResults Err_009: key i=2782 CheckResults Err_009: key i=2881 CheckResults Err_009: key i=2915 CheckResults Err_009: key i=10523 CheckResults Err_009: key i=10637 CheckResults Err_009: key i=11753 CheckResults Err_009: key i=13225 CheckResults Err_009: key i=19297 CheckResults Err_009: key i=2955 CheckResults Err_009: key i=9906 CheckResults Err_009: key i=10060 2 tests passed for NonExclusiveLevelAlarmType 0 tests skipped CheckResults Err_009: key i=9341 CheckResults Err_009: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped
A&C Alarm
| Test_001 | CheckResults Test_001: key i=2782 CheckResults Test_001: key i=2881 CheckResults Test_001: key i=2915 CheckResults Test_001: key i=10523 CheckResults Test_001: key i=10637 0 tests passed for OffNormalAlarmType 2 tests skipped CheckResults Test_001: key i=11753 CheckResults Test_001: key i=13225 CheckResults Test_001: key i=19297 CheckResults Test_001: key i=2955 CheckResults Test_001: key i=9906 CheckResults Test_001: key i=10060 0 tests passed for NonExclusiveLevelAlarmType 2 tests skipped CheckResults Test_001: key i=9341 CheckResults Test_001: key i=9482 0 tests passed for ExclusiveLevelAlarmType 2 tests skipped Test did not complete | CheckResults Test_001: key i=2782 CheckResults Test_001: key i=2881 CheckResults Test_001: key i=2915 CheckResults Test_001: key i=10523 CheckResults Test_001: key i=10637 CheckResults Test_001: key i=11753 CheckResults Test_001: key i=13225 CheckResults Test_001: key i=19297 CheckResults Test_001: key i=2955 CheckResults Test_001: key i=9906 CheckResults Test_001: key i=10060 0 tests passed for NonExclusiveLevelAlarmType 2 tests skipped CheckResults Test_001: key i=9341 CheckResults Test_001: key i=9482 0 tests passed for ExclusiveLevelAlarmType 2 tests skipped Test did not complete
| Test_002 | Test Test_002 Final States CheckResults Test_002: key i=2782 CheckResults Test_002: key i=2881 CheckResults Test_002: key i=2915 CheckResults Test_002: key i=10523 CheckResults Test_002: key i=10637 2 tests passed for OffNormalAlarmType 0 tests skipped CheckResults Test_002: key i=11753 CheckResults Test_002: key i=13225 CheckResults Test_002: key i=19297 CheckResults Test_002: key i=2955 CheckResults Test_002: key i=9906 CheckResults Test_002: key i=10060 CheckResults Test_002: key i=9341 CheckResults Test_002: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped | Test Test_002 Final States CheckResults Test_002: key i=2782 CheckResults Test_002: key i=2881 CheckResults Test_002: key i=2915 CheckResults Test_002: key i=10523 CheckResults Test_002: key i=10637 CheckResults Test_002: key i=11753 CheckResults Test_002: key i=13225 CheckResults Test_002: key i=19297 CheckResults Test_002: key i=2955 CheckResults Test_002: key i=9906 CheckResults Test_002: key i=10060 CheckResults Test_002: key i=9341 CheckResults Test_002: key i=9482 2 tests passed for ExclusiveLevelAlarmType 0 tests skipped
| Test_003 | CheckResults Test_003: key i=2782 CheckResults Test_003: key i=2881 CheckResults Test_003: key i=2915 CheckResults Test_003: key i=10523 CheckResults Test_003: key i=10637 CheckResults Test_003: key i=11753 CheckResults Test_003: key i=13225 CheckResults Test_003: key i=19297 CheckResults Test_003: key i=2955 CheckResults Test_003: key i=9906 CheckResults Test_003: key i=10060 CheckResults Test_003: key i=9341 CheckResults Test_003: key i=9482 | CheckResults Test_003: key i=2782 CheckResults Test_003: key i=2881 CheckResults Test_003: key i=2915 CheckResults Test_003: key i=10523 CheckResults Test_003: key i=10637 CheckResults Test_003: key i=11753 CheckResults Test_003: key i=13225 CheckResults Test_003: key i=19297 CheckResults Test_003: key i=2955 CheckResults Test_003: key i=9906 CheckResults Test_003: key i=10060 CheckResults Test_003: key i=9341 CheckResults Test_003: key i=9482
| Test_004 | CheckResults Test_004: key i=2782 CheckResults Test_004: key i=2881 CheckResults Test_004: key i=2915 CheckResults Test_004: key i=10523 CheckResults Test_004: key i=10637 34 tests passed for OffNormalAlarmType 0 tests skipped CheckResults Test_004: key i=11753 CheckResults Test_004: key i=13225 CheckResults Test_004: key i=19297 CheckResults Test_004: key i=2955 CheckResults Test_004: key i=9906 CheckResults Test_004: key i=10060 15 tests passed for NonExclusiveLevelAlarmType 16 tests skipped CheckResults Test_004: key i=9341 CheckResults Test_004: key i=9482 16 tests passed for ExclusiveLevelAlarmType 17 tests skipped | CheckResults Test_004: key i=2782 CheckResults Test_004: key i=2881 CheckResults Test_004: key i=2915 CheckResults Test_004: key i=10523 CheckResults Test_004: key i=10637 CheckResults Test_004: key i=11753 CheckResults Test_004: key i=13225 CheckResults Test_004: key i=19297 CheckResults Test_004: key i=2955 CheckResults Test_004: key i=9906 CheckResults Test_004: key i=10060 16 tests passed for NonExclusiveLevelAlarmType 15 tests skipped CheckResults Test_004: key i=9341 CheckResults Test_004: key i=9482 17 tests passed for ExclusiveLevelAlarmType 16 tests skipped
A&C Refresh
| Test_007 | CheckResults Test_007: key i=3875 | CheckResults Test_007: key i=3875
| Test_008 | CheckResults Test_008: key i=3875 | CheckResults Test_008: key i=3875
A&C Refresh2
| Test_001 | Not skipped | CheckResults Test_001: key i=12912
| Test_002 | Not skipped | CheckResults Test_001: key i=12912
| Test_003 | Not skipped | CheckResults Test_001: key i=12912
| Test_007 | CheckResults Test_007: key i=12912 | CheckResults Test_001: key i=12912
| Test_008 | CheckResults Test_008: key i=12912 | CheckResults Test_001: key i=12912